## Slide 1: R-Workflow for LC-MS Data Processing

## Slide 2
Based on XCMS (Scripps) and packages from ImageScope (Nick Bond)
Modified and combined to provide an automated LC-MS data processing workflow using R
Minimal user input
Some parameters require user decision
We will go through the overall workflow, user input and some test data (thanks Frank)
An R-based workflow for processing LC-MS data

## Slide 3
Setup working directories
Read input files
Packages required
mzR
xcms
reshape2
Read library files
Make lipid library
Functions
makelibrary
deisotoping
annotating
Load functions
XCMS
Prepare output
Overall workflow – lcms.R

## Slide 4
Filter and
Identify Peaks
(xcmsSet)
Match Peaks
Across Samples
(group)
Retention Time
Correction
(rector)
Fill in Missing
Peak Data
(fillPeaks)
mzML
Data
Post-processing
& Output
Post-processing
& Output
XCMS workflow

## Slide 5
Raw output
Deisotope
Annotate
Normalise (TIC)
Post-Processing and Output
NA -> 0
NA -> integrate noise
Deal with missing peaks
“final_annotated_deisotoped_norm.xls”
“final_annotated_deisotoped_fill_norm.xls”
“final_annotated_deisotoped.xls”
“final_annotated_deisotoped_fill.xls”
“xcms_peak_area_raw_deisotoped.xls”
“xcms_fill_peak_area_raw_deisotoped.xls”
“xcms_peak_area_raw.xls”
“xcms_peak_height_raw.xls”

## Slide 6
Where can I find the relevant files?

## Slide 7
Where can I find the relevant files?

## Slide 8
Where can I find the relevant files?

## Slide 9
Step 1: Convert .raw files to mzML format
MSConvert from ProteoWizard
Best to exclude blanks/failed injection etc
mzML files in one folder, ensure no subdirectories.

## Slide 10
Step 2: Open up lcms_processing.R in R studio

## Slide 11
Open Rstudio – Check/Install packages
> install.packages(reshape2)
> install.packages(Rcpp)
> source(“http://Bioconductor.org/biocLite.R”)
> biocLite(“mzR”)
> biocLite(“xcms”)

## Slide 12
Step 2: Open lcms_processing.R in R studio
Stores variables/functions
Click tabs for:
packages
plots
help …
Your script
Interactive
console
Open script
Run current line of script
Run whole script

## Slide 13
Step 3: Set up some basic parameters

## Slide 14
Step 3: Set up some basic parameters

## Slide 15
Step 3: Set up some basic parameters

## Slide 16
Step 3: Set up some basic parameters

## Slide 17
Step 2: Set up some basic parameters

## Slide 18
Step 3: Set up some basic parameters

## Slide 19
Step 4: Submit batch for processing
Once happy with settings in lcms_processing.R, select all the text and click “Run” or click “Source”:

## Slide 20
Step 5: Review output files and filter as desired
Lipid ID
m/z
Retention time
Unique ID
Sample intensity values

## Slide 21
Step 5: Review output files and filter as desired
Normalise to TIC
Pareto scale
PCA plot
1-7 (obHF) 8-14 (obRC) 15-20 (wtHF) 21-26 (wtRC)

## Slide 22
Further reading
https://metlin.scripps.edu/xcms/publications.php
https://metlin.scripps.edu/xcms/xcmsPreprocess.pdf
http://www.bioconductor.org/packages/release/bioc/html/xcms.html

## Slide 24
XCMS Overview

## Slide 25
Retention Time Correction

## Slide 26
Retention Time Correction